Controller CEAGUARD 48

..... pcs. Microcomputer-based controller 
for the control and monitoring of max. 
32 CEAGUARD 48 devices. All data and commands are passed over a three-wire 
serial data bus. With Cetronics-interface for connecting a commercial printer, V24 interface for data transmission to BM. Plastic enclosure with viewing door, cable feed-through avove or behind.

Functions:

•	Start function test, test interval can be selected as required

•	Start duration test, test interval can be selected as required

•	Continuous device status monitoring

•	Recording the individual error messages

•	Failure print out

•	Contact for failure

•	LED indicators: power, test and failure

With universal holder for mounting rail systems or wall mounting

Dimensions (h x w x d/mm): 85 x 175 x 73

Modular dimension: 10 units

Type: 	Controller CEAGUARD 48

Manufactured by: 	CEAG