F3 remote indication

..... pcs. F3 remote indication acc. VDE 0108/10.89

For the remote indication of the operating states of the central battery system. Function is also ensured in case of mains failure. It is possible to block emergency lighting operation using a key-operated switch. LED indicators: system operation, battery operation, system failure.

Enclosure: 
plastic enclosure for surface mounting

Dimensions (mm): W = 80, H = 160, D = 55

Connection terminals: 2.5 mm2 rigid and flexible

Type:	F3 remote indication

Manufactured by:	CEAG