CG-S/USB-Interface

Pos.   )		pcs.

CG-S/USB-Interface

USB–Interface Box to operate CEAG emergency lighting systems with STAR-technology via CG-S Bus at CGVision visualisation-, monitoring- and programming-software.

The connection occurs by USB-Port at standard pc`s with Windows 2000™ or Windows XP™- system software. The supply occurs by USB-Interface.

Aluminium build-up housing

Dimensions:		L=128mm, W=70mm, H=20mm

Weight: 		approx. 150g

Degree of protection:	IP20

Ports: 			1 x USB, 1 x CG-S Bus

LED-display: 		function 1 x green, fault 1 x red

Type: CG-S/USB-Interface

Manufactured by: CEAG