# EGA/COM-Server

Pos.   )		pcs.

EGA/COM-Server for the connection of CEAG emergency lighting systems with EGA-Bus to CGVision by at site available Ethernet (with TCP/IP).

Simple, even building-spanned connection of peripherally placed emergency lighting systems with EGA-Bus via Ethernet.

EGA / COM-Server:

- Routes packages between EGA-Bus and IP-852 networks

- Simple installation an configuration

- State, Power and Error-LED’s

- Configuration via a serial port

- Including mains adapter 24V/AC

Operation voltage: 		9-24V AC/DC

Power consumption: 		type. 2W

Plastic housing: 		for DIN rail mounting

Dimensions: 			L=105 mm, W=75 mm, H=22 mm

Type: EGA/COM-Server

Manufactured by: CEAG