3-phase monitoring

# Pos. ...)  ... pcs.

3-phase monitoring complies DIN VDE 0100-718

For the monitoring of distributors for general lighting systems.

For installation in the main distribution board for the general lighting system or the sub-distribution board for the general lighting system including universal holder for mounting rail systems. With additional potential-free change-over contact.

Trigger threshold U < 85% UN.

Colour of enclosure: red

Dimensions: B x H x D = 52.5 x 85 x 65 mm

Pitch for 3 units

Type: 3-phase monitoring

Supplier: CEAG