TLS-switching module

Pos. ...)  ... pcs.

TLS switching module for switching general luminaires using timer-controlled emergency circuits during mains operation.

Charging current: 3 x 16 A AC

Connection terminals: 2.5 sqmm

Colour of enclosure: red

Dimensions: B x H x D = 52.5 x 85 x 65 mm

Pitch for 3 units

Type: TLS switching module

Supplier: CEAG