External DLS module

.... pcs. external DLS module can be used as a phase monitor and for DLS monitoring for the common switching of emergency and general lighting systems.

•	Enclosure for DIN rail mounting.

•	5 DLS or 2 DLS plus 3 phase monitor inputs (2.5 mm2) with LED indicator.

•	Monitoring levels as per DIN VDE 0100-718.

•	Connection of RS 485 bus and 24V module supply.

•	Dimensions (B x H x D/mm): 75 x 76 x 70

Type: DLS-BUS-module CG 2000 external

Manufactured by:	CEAG